

INTER-OFFICE MEMORANDUM **DATE:** 02/02/2021 **TO:** Theresa **FROM:** Travis **SUBJECT:** 51st Street  
 DSC Engineering Review Comments  
 DSC File: K12-009832-SP

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: Provide silt fence around the extents of disturbance. ((VESCH 7.12).)  
2: The system is showing that there is less than 2' in separation between the bottom of facility and the SHGWT. Revise the desing to provide the separation. ((DEQ Spec. No. 7.).)