

INTER-OFFICE MEMORANDUM **DATE:** 05/22/2021 **TO:** Jim **FROM:** travis **SUBJECT:** Apple Farm  
 DSC Engineering Review Comments  
 DSC File: DP2020-21

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: There is more than 5 acres draining into the temporary diversion dike, update accordingly. ((VESCH 3.09).)