

INTER-OFFICE MEMORANDUM **DATE:** 02/05/2021 **TO:** Rhodes **FROM:** Travis **SUBJECT:** Porcupine Road  
 DSC Engineering Review Comments  
 DSC File: K12-12345-SP

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: Provide silt fence around the extents of disturbance. ((VESCH 7.12).)  
2: Provide a title to the site plan. (Guide to Commercial Site Plan Development.)