

INTER-OFFICE MEMORANDUM **DATE:** 02/24/2021 **TO:** William **FROM:** Travis **SUBJECT:** Orange Farm  
 DSC Engineering Review Comments  
 DSC File: K12-928473-SP

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: Provide a title to the site plan. (Guide to Commercial Site Plan Development.)