

INTER-OFFICE MEMORANDUM **DATE:** 02/24/2021 **TO:** Seth **FROM:** Travis **SUBJECT:** Another Duplex  
 DSC Engineering Review Comments  
 DSC File: K99-999999-DP

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: Provide silt fence around the extents of disturbance. ((VESCH 7.12).)