

INTER-OFFICE MEMORANDUM **DATE:** 02/05/2021 **TO:** f **FROM:** f **SUBJECT:** f  
 DSC Engineering Review Comments  
 DSC File: f

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: Provide silt fence around the extents of disturbance. ((VESCH 7.12).)  
2: Provide the silt fence detail, it is missing from the plans. ((VESCH 8.9).)