

INTER-OFFICE MEMORANDUM **DATE:** 01/29/2021 **TO:** Tony **FROM:** Travis **SUBJECT:** 51 St  
 DSC Engineering Review Comments  
 DSC File: K12-12345-SP

DSC cannot approve the project at this time. The following comments must first be addressed:  
  
1: Provide silt fence around the extents of disturbance. ((VESCH 7.12).)